## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN24feb21_001.gcd | 2021-02-24 15:38 | air | Unknown | 0 | 6.113 | 2295 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN24feb21_001.gcd | 2021-02-24 15:38 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN24feb21_001.gcd | 2021-02-24 15:38 | air | Unknown | 0 | 12.291 | 2281 | 0.485 | ----- | ----- | ----- | ----- | 1 |  | 1.9489 | 457.4008 | 1.7536 | 432.1846
38 | BRN24feb21_002.gcd | 2021-02-24 16:09 | air + 100 | Unknown | 0 | 6.105 | 2001 | 0.001 | ----- | ----- | ----- | ----- | 38 | BRN24feb21_002.gcd | 2021-02-24 16:09 | air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN24feb21_002.gcd | 2021-02-24 16:09 | air + 100 | Unknown | 0 | 12.237 | 1386 | 0.364 | ----- | ----- | ----- | ----- | 3 | not spiked, just air | 1.1268 | 291.6738 | 0.70279 | 261.114
39 | BRN24feb21_003.gcd | 2021-02-24 16:40 | LO-D3 | Unknown | 0 | 6.038 | 22487 | 0.032 | ----- | ----- | ----- | ----- | 39 | BRN24feb21_003.gcd | 2021-02-24 16:40 | LO-D3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN24feb21_003.gcd | 2021-02-24 16:40 | LO-D3 | Unknown | 0 | 12.238 | 11953 | 1.8 | ----- | ----- | ----- | ----- | 1 |  | 70.6891 | 2241.948 | 58.781 | 2279.2325
40 | BRN24feb21_004.gcd | 2021-02-24 17:10 | PA-B3 | Unknown | 0 | 6.044 | 375729 | 0.558 | ----- | ----- | ----- | ----- | 40 | BRN24feb21_004.gcd | 2021-02-24 17:10 | PA-B3 | Unknown | 0 | 6.002 | 3287 | 1.201 | ----- | ----- | ----- | ----- | 40 | BRN24feb21_004.gcd | 2021-02-24 17:10 | PA-B3 | Unknown | 0 | 12.228 | 29493 | 4.187 | ----- | ----- | ----- | ----- | 1 |  | 1065.4102 | 5448.2325 | 972.5671 | 5621.06
41 | BRN24feb21_005.gcd | 2021-02-24 17:41 | ES-6 | Unknown | 0 | 6.055 | 5235 | 0.006 | ----- | ----- | ----- | ----- | 41 | BRN24feb21_005.gcd | 2021-02-24 17:41 | ES-6 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN24feb21_005.gcd | 2021-02-24 17:41 | ES-6 | Unknown | 0 | 12.237 | 13496 | 2.009 | ----- | ----- | ----- | ----- | 1 |  | 10.372 | 2525.5553 | 11.7103 | 2573.6156
42 | BRN24feb21_006.gcd | 2021-02-24 18:11 | ES-Air 3 | Unknown | 0 | 6.12 | 3118 | 0.003 | ----- | ----- | ----- | ----- | 42 | BRN24feb21_006.gcd | 2021-02-24 18:11 | ES-Air 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN24feb21_006.gcd | 2021-02-24 18:11 | ES-Air 3 | Unknown | 0 | 12.277 | 4141 | 0.738 | ----- | ----- | ----- | ----- | 1 |  | 4.2698 | 801.495 | 4.6417 | 787.6224
43 | BRN24feb21_007.gcd | 2021-02-24 18:42 | LO-B Air 3 | Unknown | 0 | 6.103 | 2937 | 0.003 | ----- | ----- | ----- | ----- | 43 | BRN24feb21_007.gcd | 2021-02-24 18:42 | LO-B Air 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN24feb21_007.gcd | 2021-02-24 18:42 | LO-B Air 3 | Unknown | 0 | 12.277 | 4394 | 0.772 | ----- | ----- | ----- | ----- | 1 |  | 3.7569 | 848.2657 | 4.0133 | 835.9609
44 | BRN24feb21_008.gcd | 2021-02-24 19:13 | PA-D3 | Unknown | 0 | 6.048 | 312834 | 0.464 | ----- | ----- | ----- | ----- | 44 | BRN24feb21_008.gcd | 2021-02-24 19:13 | PA-D3 | Unknown | 0 | 6.012 | 2760 | 1.105 | ----- | ----- | ----- | ----- | 44 | BRN24feb21_008.gcd | 2021-02-24 19:13 | PA-D3 | Unknown | 0 | 12.241 | 21553 | 3.106 | ----- | ----- | ----- | ----- | 1 |  | 903.2043 | 4001.5975 | 812.0746 | 4109.5223
45 | BRN24feb21_009.gcd | 2021-02-24 19:43 | LO-B Air 2 | Unknown | 0 | 6.095 | 3727 | 0.004 | ----- | ----- | ----- | ----- | 45 | BRN24feb21_009.gcd | 2021-02-24 19:43 | LO-B Air 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN24feb21_009.gcd | 2021-02-24 19:43 | LO-B Air 2 | Unknown | 0 | 12.275 | 3902 | 0.706 | ----- | ----- | ----- | ----- | 1 |  | 6.0057 | 757.3051 | 6.7284 | 741.9568
46 | BRN24feb21_010.gcd | 2021-02-24 20:14 | AR-D Air 1 | Unknown | 0 | 6.106 | 3055 | 0.003 | ----- | ----- | ----- | ----- | 46 | BRN24feb21_010.gcd | 2021-02-24 20:14 | AR-D Air 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN24feb21_010.gcd | 2021-02-24 20:14 | AR-D Air 1 | Unknown | 0 | 12.273 | 7082 | 1.138 | ----- | ----- | ----- | ----- | 1 |  | 4.0911 | 1344.6846 | 4.4234 | 1349.4049
47 | BRN24feb21_011.gcd | 2021-02-24 20:44 | PA-B Air 1 | Unknown | 0 | 6.096 | 3155 | 0.003 | ----- | ----- | ----- | ----- | 47 | BRN24feb21_011.gcd | 2021-02-24 20:44 | PA-B Air 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN24feb21_011.gcd | 2021-02-24 20:44 | PA-B Air 1 | Unknown | 0 | 12.257 | 3976 | 0.716 | ----- | ----- | ----- | ----- | 1 |  | 4.3748 | 770.9881 | 4.7697 | 756.0962
48 | BRN24feb21_012.gcd | 2021-02-24 21:15 | Room Blank 3 | Unknown | 0 | 6.127 | 2511 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN24feb21_012.gcd | 2021-02-24 21:15 | Room Blank 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN24feb21_012.gcd | 2021-02-24 21:15 | Room Blank 3 | Unknown | 0 | 12.275 | 4098 | 0.732 | ----- | ----- | ----- | ----- | 1 |  | 2.5552 | 793.5451 | 2.5192 | 779.4065
49 | BRN24feb21_013.gcd | 2021-02-24 21:46 | Test 2 | Unknown | 0 | 6.12 | 2474 | 0.002 | ----- | ----- | ----- | ----- | 49 | BRN24feb21_013.gcd | 2021-02-24 21:46 | Test 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN24feb21_013.gcd | 2021-02-24 21:46 | Test 2 | Unknown | 0 | 12.261 | 3783 | 0.689 | ----- | ----- | ----- | ----- | 1 |  | 2.4512 | 735.2999 | 2.3884 | 719.2189
50 | BRN24feb21_014.gcd | 2021-02-24 22:16 | PA-B Air 2 | Unknown | 0 | 6.097 | 3250 | 0.003 | ----- | ----- | ----- | ----- | 50 | BRN24feb21_014.gcd | 2021-02-24 22:16 | PA-B Air 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN24feb21_014.gcd | 2021-02-24 22:16 | PA-B Air 2 | Unknown | 0 | 12.243 | 4087 | 0.731 | ----- | ----- | ----- | ----- | 1 |  | 4.6447 | 791.5113 | 5.0977 | 777.3048
51 | BRN24feb21_015.gcd | 2021-02-24 22:47 | PA-B Air 3 | Unknown | 0 | 6.145 | 2709 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN24feb21_015.gcd | 2021-02-24 22:47 | PA-B Air 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN24feb21_015.gcd | 2021-02-24 22:47 | PA-B Air 3 | Unknown | 0 | 12.262 | 4321 | 0.762 | ----- | ----- | ----- | ----- | 1 |  | 3.1128 | 834.7714 | 3.2162 | 822.0136
52 | BRN24feb21_016.gcd | 2021-02-24 23:18 | AR-D1 | Unknown | 0 | 6.052 | 753250 | 1.12 | ----- | ----- | ----- | ----- | 52 | BRN24feb21_016.gcd | 2021-02-24 23:18 | AR-D1 | Unknown | 0 | 6.001 | 6340 | 1.762 | ----- | ----- | ----- | ----- | 52 | BRN24feb21_016.gcd | 2021-02-24 23:18 | AR-D1 | Unknown | 0 | 12.228 | 39951 | 5.613 | ----- | ----- | ----- | ----- | 1 |  | 1763.598 | 7341.5593 | 1910.8693 | 7608.8209
53 | BRN24feb21_017.gcd | 2021-02-24 23:48 | AR-Centroid 2 | Unknown | 0 | 6.045 | 836386 | 1.244 | ----- | ----- | ----- | ----- | 53 | BRN24feb21_017.gcd | 2021-02-24 23:48 | AR-Centroid 2 | Unknown | 0 | 5.991 | 7016 | 1.887 | ----- | ----- | ----- | ----- | 53 | BRN24feb21_017.gcd | 2021-02-24 23:48 | AR-Centroid 2 | Unknown | 0 | 12.237 | 31093 | 4.405 | ----- | ----- | ----- | ----- | 1 |  | 1892.0001 | 5738.7878 | 2084.0145 | 5925.4038
54 | BRN24feb21_018.gcd | 2021-02-25 00:19 | Room Blank 4 | Unknown | 0 | 6.135 | 2659 | 0.002 | ----- | ----- | ----- | ----- | 54 | BRN24feb21_018.gcd | 2021-02-25 00:19 | Room Blank 4 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN24feb21_018.gcd | 2021-02-25 00:19 | Room Blank 4 | Unknown | 0 | 12.274 | 6805 | 1.1 | ----- | ----- | ----- | ----- | 1 |  | 2.9718 | 1293.5702 | 3.0406 | 1296.505
55 | BRN24feb21_019.gcd | 2021-02-25 00:49 | AR-Centroid 1 | Unknown | 0 | 6.044 | 598327 | 0.889 | ----- | ----- | ----- | ----- | 55 | BRN24feb21_019.gcd | 2021-02-25 00:49 | AR-Centroid 1 | Unknown | 0 | 6.001 | 4188 | 1.367 | ----- | ----- | ----- | ----- | 55 | BRN24feb21_019.gcd | 2021-02-25 00:49 | AR-Centroid 1 | Unknown | 0 | 12.242 | 23636 | 3.389 | ----- | ----- | ----- | ----- | 1 |  | 1587.6196 | 4381.8773 | 1532.8989 | 4506.2614
56 | BRN24feb21_020.gcd | 2021-02-25 01:20 | AR-D2 | Unknown | 0 | 6.045 | 780627 | 1.161 | ----- | ----- | ----- | ----- | 56 | BRN24feb21_020.gcd | 2021-02-25 01:20 | AR-D2 | Unknown | 0 | 5.997 | 7002 | 1.884 | ----- | ----- | ----- | ----- | 56 | BRN24feb21_020.gcd | 2021-02-25 01:20 | AR-D2 | Unknown | 0 | 12.223 | 39377 | 5.534 | ----- | ----- | ----- | ----- | 1 |  | 1889.3409 | 7237.9979 | 2080.4288 | 7499.8125
57 | BRN24feb21_021.gcd | 2021-02-25 01:51 | PA-B1 | Unknown | 0 | 6.086 | 386334 | 0.573 | ----- | ----- | ----- | ----- | 57 | BRN24feb21_021.gcd | 2021-02-25 01:51 | PA-B1 | Unknown | 0 | 6.046 | 2662 | 1.086 | ----- | ----- | ----- | ----- | 57 | BRN24feb21_021.gcd | 2021-02-25 01:51 | PA-B1 | Unknown | 0 | 12.275 | 24472 | 3.503 | ----- | ----- | ----- | ----- | 1 |  | 1092.1242 | 4534.3472 | 999.5342 | 4665.4506
58 | BRN24feb21_022.gcd | 2021-02-25 02:21 | LO-D1 | Unknown | 0 | 6.049 | 20653 | 0.029 | ----- | ----- | ----- | ----- | 58 | BRN24feb21_022.gcd | 2021-02-25 02:21 | LO-D1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN24feb21_022.gcd | 2021-02-25 02:21 | LO-D1 | Unknown | 0 | 12.247 | 12473 | 1.87 | ----- | ----- | ----- | ----- | 1 |  | 64.9931 | 2337.5587 | 53.958 | 2378.4499
59 | BRN24feb21_023.gcd | 2021-02-25 02:52 | PA-B2 | Unknown | 0 | 6.044 | 282607 | 0.419 | ----- | ----- | ----- | ----- | 59 | BRN24feb21_023.gcd | 2021-02-25 02:52 | PA-B2 | Unknown | 0 | 6.002 | 2485 | 1.054 | ----- | ----- | ----- | ----- | 59 | BRN24feb21_023.gcd | 2021-02-25 02:52 | PA-B2 | Unknown | 0 | 12.239 | 22694 | 3.261 | ----- | ----- | ----- | ----- | 1 |  | 822.9516 | 4209.9699 | 734.6025 | 4326.8606
60 | BRN24feb21_024.gcd | 2021-02-25 03:22 | LO-D2 | Unknown | 0 | 6.033 | 25018 | 0.035 | ----- | ----- | ----- | ----- | 60 | BRN24feb21_024.gcd | 2021-02-25 03:22 | LO-D2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN24feb21_024.gcd | 2021-02-25 03:22 | LO-D2 | Unknown | 0 | 12.229 | 12322 | 1.85 | ----- | ----- | ----- | ----- | 1 |  | 78.5409 | 2309.7983 | 65.4357 | 2349.6396
61 | BRN24feb21_025.gcd | 2021-02-25 03:53 | AR-D3 | Unknown | 0 | 6.024 | 923957 | 1.375 | ----- | ----- | ----- | ----- | 61 | BRN24feb21_025.gcd | 2021-02-25 03:53 | AR-D3 | Unknown | 0 | 5.974 | 8444 | 2.149 | ----- | ----- | ----- | ----- | 61 | BRN24feb21_025.gcd | 2021-02-25 03:53 | AR-D3 | Unknown | 0 | 12.194 | 42090 | 5.904 | ----- | ----- | ----- | ----- | 1 |  | 2163.2498 | 7727.1147 | 2449.7106 | 8014.9443
62 | BRN24feb21_026.gcd | 2021-02-25 04:24 | LO-B6 | Unknown | 0 | 6.046 | 27179 | 0.039 | ----- | ----- | ----- | ----- | 62 | BRN24feb21_026.gcd | 2021-02-25 04:24 | LO-B6 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN24feb21_026.gcd | 2021-02-25 04:24 | LO-B6 | Unknown | 0 | 12.244 | 11432 | 1.729 | ----- | ----- | ----- | ----- | 1 |  | 85.2365 | 2146.1193 | 71.1163 | 2179.8154
63 | BRN24feb21_027.gcd | 2021-02-25 04:54 | AR-D Air 2 | Unknown | 0 | 6.091 | 3790 | 0.004 | ----- | ----- | ----- | ----- | 63 | BRN24feb21_027.gcd | 2021-02-25 04:54 | AR-D Air 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN24feb21_027.gcd | 2021-02-25 04:54 | AR-D Air 2 | Unknown | 0 | 12.256 | 5222 | 0.885 | ----- | ----- | ----- | ----- | 1 |  | 6.1862 | 1001.2771 | 6.9418 | 994.145
64 | BRN24feb21_028.gcd | 2021-02-25 05:25 | ES-Air 1 | Unknown | 0 | 6.095 | 3754 | 0.004 | ----- | ----- | ----- | ----- | 64 | BRN24feb21_028.gcd | 2021-02-25 05:25 | ES-Air 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN24feb21_028.gcd | 2021-02-25 05:25 | ES-Air 1 | Unknown | 0 | 12.264 | 4417 | 0.775 | ----- | ----- | ----- | ----- | 1 |  | 6.083 | 852.5172 | 6.8199 | 840.3552
65 | BRN24feb21_029.gcd | 2021-02-25 05:55 | Test 3 | Unknown | 0 | 6.109 | 2640 | 0.002 | ----- | ----- | ----- | ----- | 65 | BRN24feb21_029.gcd | 2021-02-25 05:55 | Test 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN24feb21_029.gcd | 2021-02-25 05:55 | Test 3 | Unknown | 0 | 12.231 | 4691 | 0.813 | ----- | ----- | ----- | ----- | 1 |  | 2.9183 | 903.1601 | 2.9738 | 892.7034
66 | BRN24feb21_030.gcd | 2021-02-25 06:26 | ES-Air 2 | Unknown | 0 | 6.049 | 7343 | 0.009 | ----- | ----- | ----- | ----- | 66 | BRN24feb21_030.gcd | 2021-02-25 06:26 | ES-Air 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN24feb21_030.gcd | 2021-02-25 06:26 | ES-Air 2 | Unknown | 0 | 12.239 | 4818 | 0.83 | ----- | ----- | ----- | ----- | 1 |  | 16.6376 | 926.6301 | 18.2326 | 916.9662
67 | BRN24feb21_031.gcd | 2021-02-25 06:57 | LO-B Air 1 | Unknown | 0 | 6.074 | 4148 | 0.004 | ----- | ----- | ----- | ----- | 67 | BRN24feb21_031.gcd | 2021-02-25 06:57 | LO-B Air 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN24feb21_031.gcd | 2021-02-25 06:57 | LO-B Air 1 | Unknown | 0 | 12.257 | 3590 | 0.663 | ----- | ----- | ----- | ----- | 1 |  | 7.215 | 699.607 | 8.1457 | 682.3404
68 | BRN24feb21_032.gcd | 2021-02-25 07:27 | Test 1 | Unknown | 0 | 6.106 | 2490 | 0.002 | ----- | ----- | ----- | ----- | 68 | BRN24feb21_032.gcd | 2021-02-25 07:27 | Test 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN24feb21_032.gcd | 2021-02-25 07:27 | Test 1 | Unknown | 0 | 12.236 | 4851 | 0.834 | ----- | ----- | ----- | ----- | 1 |  | 2.4962 | 932.7283 | 2.445 | 923.2706
69 | BRN24feb21_033.gcd | 2021-02-25 07:58 | ES-5 | Unknown | 0 | 6.068 | 5699 | 0.007 | ----- | ----- | ----- | ----- | 69 | BRN24feb21_033.gcd | 2021-02-25 07:58 | ES-5 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN24feb21_033.gcd | 2021-02-25 07:58 | ES-5 | Unknown | 0 | 12.246 | 11053 | 1.677 | ----- | ----- | ----- | ----- | 1 |  | 11.735 | 2076.3877 | 13.1901 | 2107.4891
70 | BRN24feb21_034.gcd | 2021-02-25 08:29 | Room Blank 1 | Unknown | 0 | 6.118 | 2372 | 0.002 | ----- | ----- | ----- | ----- | 70 | BRN24feb21_034.gcd | 2021-02-25 08:29 | Room Blank 1 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN24feb21_034.gcd | 2021-02-25 08:29 | Room Blank 1 | Unknown | 0 | 12.239 | 4726 | 0.817 | ----- | ----- | ----- | ----- | 1 |  | 2.1648 | 909.6284 | 2.0271 | 899.39
71 | BRN24feb21_035.gcd | 2021-02-25 08:59 | PA-D2 | Unknown | 0 | 6.102 | 348896 | 0.518 | ----- | ----- | ----- | ----- | 71 | BRN24feb21_035.gcd | 2021-02-25 08:59 | PA-D2 | Unknown | 0 | 6.055 | 3434 | 1.228 | ----- | ----- | ----- | ----- | 71 | BRN24feb21_035.gcd | 2021-02-25 08:59 | PA-D2 | Unknown | 0 | 12.29 | 25055 | 3.582 | ----- | ----- | ----- | ----- | 1 |  | 996.9978 | 4640.6229 | 904.2129 | 4776.4507
72 | BRN24feb21_036.gcd | 2021-02-25 09:30 | PA-D1 | Unknown | 0 | 6.027 | 315439 | 0.468 | ----- | ----- | ----- | ----- | 72 | BRN24feb21_036.gcd | 2021-02-25 09:30 | PA-D1 | Unknown | 0 | 5.989 | 2642 | 1.083 | ----- | ----- | ----- | ----- | 72 | BRN24feb21_036.gcd | 2021-02-25 09:30 | PA-D1 | Unknown | 0 | 12.217 | 21188 | 3.056 | ----- | ----- | ----- | ----- | 1 |  | 910.0508 | 3934.9058 | 818.7409 | 4039.988
73 | BRN24feb21_037.gcd | 2021-02-25 10:00 | LO-B4 | Unknown | 0 | 6.05 | 22532 | 0.032 | ----- | ----- | ----- | ----- | 73 | BRN24feb21_037.gcd | 2021-02-25 10:00 | LO-B4 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN24feb21_037.gcd | 2021-02-25 10:00 | LO-B4 | Unknown | 0 | 12.253 | 9489 | 1.465 | ----- | ----- | ----- | ----- | 1 |  | 70.8288 | 1788.4387 | 58.8993 | 1808.9747
74 | BRN24feb21_038.gcd | 2021-02-25 10:31 | Room Blank 2 | Unknown | 0 | 6.166 | 2710 | 0.002 | ----- | ----- | ----- | ----- | 74 | BRN24feb21_038.gcd | 2021-02-25 10:31 | Room Blank 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN24feb21_038.gcd | 2021-02-25 10:31 | Room Blank 2 | Unknown | 0 | 12.282 | 5424 | 0.912 | ----- | ----- | ----- | ----- | 1 |  | 3.1156 | 1038.5929 | 3.2197 | 1032.7324
75 | BRN24feb21_039.gcd | 2021-02-25 11:02 | AR-D Air 3 | Unknown | 0 | 6.093 | 3824 | 0.004 | ----- | ----- | ----- | ----- | 75 | BRN24feb21_039.gcd | 2021-02-25 11:02 | AR-D Air 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN24feb21_039.gcd | 2021-02-25 11:02 | AR-D Air 3 | Unknown | 0 | 12.254 | 4609 | 0.802 | ----- | ----- | ----- | ----- | 1 |  | 6.2837 | 888.0052 | 7.0568 | 877.0374
76 | BRN24feb21_040.gcd | 2021-02-25 11:32 | AR-Centroid 3 | Unknown | 0 | 6.043 | 858538 | 1.277 | ----- | ----- | ----- | ----- | 76 | BRN24feb21_040.gcd | 2021-02-25 11:32 | AR-Centroid 3 | Unknown | 0 | 5.997 | 7011 | 1.886 | ----- | ----- | ----- | ----- | 76 | BRN24feb21_040.gcd | 2021-02-25 11:32 | AR-Centroid 3 | Unknown | 0 | 12.225 | 30399 | 4.31 | ----- | ----- | ----- | ----- | 1 |  | 1891.0504 | 5612.7989 | 2082.7339 | 5793.4049